## Slide 2
Back Panel
Aux 1 (<20kHz)
Front Panel
Input 1
Input 2
Output 1
Output 2
THz Detector
(from pre-amp)
Tip oscillation amplitude
(from EasyPLL)
Optical
Chopper

## Slide 3
Easy PLL Plus Controller
Easy PLL Plus Detector
Detect in
Drive out
Signal out
Ref-In
Input
Ref
1 2
SIM 960 Analog
PID Controller
SIM 900 Main Frame
Input
Output
3
SIM 965
Analog
Filter
In
Out
4
SIM 965
Analog
Filter
In
Out
In
Out
6
SIM 983
Scaling
Amp
In
Out
7
SIM 983
Analog
Amp
In
Out
8
SIM 965
Analog
Filter
In
Out
Amplitude
Lock-In Amp’s
Ref-In
Tuning Fork
Tuning Fork
DAQ Board, Nanostage
5
SIM 965
Analog
Filter
DC Output
Reference Frequency Input
Output Frequency
Excitation Piezo Driving Output
Sensor’s Preamplifier
Signal Input
Sensor Signal AC-input
Sinusoidal Reference Signal Output