## Slide 1
Ch.3 Metrology for Time-Domain Spectrometers
Lee Jong Geon

## Slide 2
Performance Parameters: Sensitivity, Resolution, Precision, Accuracy, Dynamic Range, and Signal-to-noise Ratio
Dynamic Range and Signal-to-Noise Ratio of Terahertz Time-Domain Spectrometers
System Performance Limits Due to Dynamic Range and Signal-to-Noise Ratio
Sources of Random Noise
Systemic Errors
Terahertz Beam Profile
Contents

## Slide 3
Performance Parameters:
Sensitivity, Resolution, Precision, Accuracy, Dynamic Range, and SNR

## Slide 4
1. Performance Parameters: Sensitivity, Resolution, Precision, Accuracy, Dynamic Range, and SNR
Sensitivity: The minimum measurable value
Resolution: The minimum measurable difference between two value
Precision: The numerical value of measurement reproducibility
Type A uncertainty: Random uncertainties
 averaging
Type B uncertainty: Systematic uncertainties
 cannot be analyzed with statistics
Ratcliffe, C., and Ratcliffe, B., Doubt-Free Uncertainty In Measurement: An Introduction for Engineers and Students, Cham: Springer, 2015.

## Slide 5
1. Performance Parameters: Sensitivity, Resolution, Precision, Accuracy, Dynamic Range, and SNR
Accuracy: The difference between the true value and the value measured by the experimental system
Dynamic Range (DR)
SNR
* Noise Floor (NF)

## Slide 6
DR and SNR of Terahertz TDS

## Slide 7
2. DR and SNR of Terahertz TDS
SNR and DR in time-domain
Tripathi, S. R., et al., “Pratical Method to Estimate the Standard Deviation in Absorption Coefficients Measured with THz Time-Domain Spectroscopy,” Opt. Commun., Vol. 283, 2010.
SNR fluctuate strongly and irregularly
No meaningful information
DR follow the absolute value of the signal

## Slide 8
System Performance Limits
Due to DR and SNR

## Slide 9
3.1 Frequency Resolution
Zeor-padding
The frequency resolution of a time-domain spectroscopy may be improved by zero-padding. However the additional data points arising from a string of zeros carry no additional information
Hilbert, S. (n.d.). FFT Zero Padding. Retrieved March 15, 2018, from http://www.bitweenie.com/listings/fft-zero-padding/

## Slide 10
3.2 Meqsurement Bandwidth
In the frequency domain, the dynamic range places limits on the bandwidth, maximum measurable absorption, and usable sample thickness.
Jepsen, P. U., and B. M. Fischer, “Dynamic Range in Terahertz Time-Domain Transmission and Reflection Spectroscopy,” Opt. Lett., Vol. 30, 2005.

## Slide 11
Sources of Random Noise

## Slide 12
4.1 Amplitude
Zeor-padding
The frequency resolution of a time-domain spectroscopy may be improved by zero-padding. However the additional data points arising from a string of zeros carry no additional information
Hilbert, S. (n.d.). FFT Zero Padding. Retrieved March 15, 2018, from http://www.bitweenie.com/listings/fft-zero-padding/

## Slide 13
4.2 Phase
Zeor-padding
The frequency resolution of a time-domain spectroscopy may be improved by zero-padding. However the additional data points arising from a string of zeros carry no additional information
Hilbert, S. (n.d.). FFT Zero Padding. Retrieved March 15, 2018, from http://www.bitweenie.com/listings/fft-zero-padding/

## Slide 14
Systematic Errors

## Slide 15
5.1 Alignment Errors
Zeor-padding
The frequency resolution of a time-domain spectroscopy may be improved by zero-padding. However the additional data points arising from a string of zeros carry no additional information
Hilbert, S. (n.d.). FFT Zero Padding. Retrieved March 15, 2018, from http://www.bitweenie.com/listings/fft-zero-padding/

## Slide 16
References
Ratcliffe, C., and Ratcliffe, B., Doubt-Free Uncertainty In Measurement: An Introduction for Engineers and Students, Cham: Springer, 2015, pp. 9-18.
Tripathi, S. R., et al., “Pratical Method to Estimate the Standard Deviation in Absorption Coefficients Measured with THz Time-Domain Spectroscopy,” Opt. Commun., Vol. 283, 2010, pp. 2488-2491.
Hilbert, S. (n.d.). FFT Zero Padding. Retrieved March 15, 2018, from http://www.bitweenie.com/listings/fft-zero-padding/
Jepsen, P. U., and B. M. Fischer, “Dynamic Range in Terahertz Time-Domain Transmission and Reflection Spectroscopy,” Opt. Lett., Vol. 30, 2005, pp. 29-31.