## Slide 1
Ch.3 Evaluation of Uncertainty in
Time-Domain Spectroscopy
Lee Jong Geon

## Slide 2
Method of Uncertainty Evaluation
Sources of Uncertainty in Terahertz Time-Domain Spectroscopy
Practical Implementation
Contents

## Slide 3
Method of
Uncertainty Evaluation

## Slide 4
1.1 General Definitions
Type A uncertainty: uncertainty by a statistical analysis of quantity values obtained by measurements under repeatability conditions
Type B uncertainty: uncertainty by means other than a statistical analysis of quantity values obtained by measurement
International Vocabulary of Basic and General Terms in Metrology (VIM), ISO, 2004.
Grabe, M., Measurement Uncertainties in Science and Technology, New York: Springer, 2005.
True Value (): The value would be obtainable by a perfect measurement, that is a measurement without measurement error.
Measured Value ():
Uncertainty ():

## Slide 5
1.2 Evaluation of Random and Systematic Errors
Type A uncertainty: Random uncertainties
 averaging
Type B uncertainty: Systematic uncertainties
 cannot be analyzed with statistics
International Vocabulary of Basic and General Terms in Metrology (VIM), ISO, 2004.
Grabe, M., Measurement Uncertainties in Science and Technology, New York: Springer, 2005.

## Slide 6
1.3 Propagation and Combination of Measurement Uncertainty
Type A uncertainty: Random uncertainties
 averaging
Type B uncertainty: Systematic uncertainties
 cannot be analyzed with statistics
International Vocabulary of Basic and General Terms in Metrology (VIM), ISO, 2004.
Grabe, M., Measurement Uncertainties in Science and Technology, New York: Springer, 2005.

## Slide 7
References
International Vocabulary of Basic and General Terms in Metrology (VIM), ISO, 2004.
Grabe, M., Measurement Uncertainties in Science and Technology, New York: Springer, 2005.