## Slide 1
20190121
Lab meeting
Lee Jong Geon

## Slide 2
2011-Optics Express-19,25-Measurement of electron paramagnetic resonance using terahertz time-domain spectroscopy (Kohei Kozuki, Takeshi Nagashima, Masanori Hangyo)
Wire grids (wire diameter=5 µm, spacing=12.5 µm, cutoff frequency=~6 THz
A ± 10 T superconducting magnet
PC antennas, pulse (780 nm, 98 fs, 50 MHz, 12mW)
Sample: Copper(II) sulfate pentahydrate (CuSO4∙5H2O)
Powder pressed to disk(diameter=13 mm, thickness=~2 mm, mass=566 mg)
50 average, room temperature

## Slide 3
2009-Physical Chemistry Chemical Physics-11,31-Frequency domain Fourier transform THz-EPR on single molecule magnets using coherent synchrotron radiation (Alexander Schnegg, Jan Behrends, Klaus Lips, Robert Bittl, Karsten Holdack)
Liquid helium-cooled cryostat(T=1.5-300 K)
A ±10 T superconducting magnet
FTIR-spectrometer(Bruker Verex 70, min. bandwidth: 0.5 cm-1)
Detection: liquid helium-cooled InSb and Si bolometers
Sample: Mn12O12(CH3COO)16(H2O)4 (Mn12Ac)