## Slide 1
Ch.6 Terahertz Spectrometer Calibration
Lee Jong Geon

## Slide 2
Why Calibrate Terahertz Spectrometer?
Frequency Calibration
Amplitude Linearity Calibration
Reflection Standards
Contents

## Slide 3
Why Calibrate
Terahertz Spectrometer?

## Slide 4
1. Why Calibrate Terahertz Spectrometer
Calibration is a procedure for verifying instrumental performances, accuracy and precision.
Disadvantage
The bandwidth is large.
In the terahertz band, few solid materials have narrow resonance absorption lines, and those lines are too few.
Advantage
Calibrating the frequency scale also ensures the correctness of the phase.

## Slide 5
Frequency Calibration

## Slide 6
2.1 Gases
Calibration is a procedure for verifying instrumental performances, accuracy and precision.
Disadvantage
The bandwidth is large.
In the terahertz band, few solid materials have narrow resonance absorption lines, and those lines are too few.
Advantage
Calibrating the frequency scale also ensures the correctness of the phase.

## Slide 7
References
Martin, D. H., and E. Puplett, “Polarised Interferometric Spectrometry for the Millimetre and Submillimetre Spectrum,” App. Opt., Vol. 10, 1969, p. 105.
Naylor, D. A., et al., “Astronomical Spectroscopy Using an Aliased Step-and-Integrate Fourier Transform Spectrometer,” Proceedings of the SPIE, Vol. 5498, 2004, pp. 685-694.
Carli, B., et al., “Design of an Efficient Broadband Far-Infrared Fourier Transform Spectrometer,” App. Opt., Vol. 38, No. 18, 1999, pp. 3945-3950.