## Slide 1
Zurich
Single Lock-In
Lee Jong Geon

## Slide 2
Last Points
Zurich LabOne - LabVIEW
 독립적인 Interface

## Slide 3
Single Lock-In
Device Connection
Function Generator
(External reference)
Zurich HF2LI
output
Input 1
Input 2
Output 1
Output 2
Function generator로 ext. reference와 input signal을 구현
Signal
Ext.
Reference
1Vpp 1MHz

## Slide 4
Single Lock-In
Diagram
Phase Lock Indicator

## Slide 5
Single Lock-In (LabVIEW)

## Slide 6
Single Lock-In (LabVIEW)
Display Settings
PLL Settings
Demodulator Settings
Input Settings
Output

## Slide 7
Dual Lock-In Design
Review of Scientific Instruments 56, 1662 (1985); doi: 10. 1063/1.1138121
Paper
Input Signal (1) + Reference Signal (2) = 3 Inputs
Input 1,2: 50MHz Bandwidth, 210MSamples/s
Aux 1, 2: 20kHz Bandwidth, 400kSamples/s
DIO 1, 2: 2MHz Bandwidth

## Slide 8
SKhynix
Vishal Vashistha, Gayatri Vaidya, Ravi S. Hegde, Andriy E Serebryannikov, Nicolas Bonod, and Maciej Krawczyk . All-Dielectric Metasurfaces Based on Cross-Shaped Resonators for Color Pixels with Extended Gamut ACS Photonics 2017 4 (5), 1076-1082. DOI: 10.1021/acsphotonics.6b00853
Paper
L = 85 nm and W = 46 nm for blue color
L = 114 nm and W = 62 nm for green color
L = 215 nm and W = 116 nm for red color.

## Slide 9
Week Plan
 | May 5th wk. | June 1st wk. | June 2nd wk. | June 3rd wk. | June 4th wk.
PLL |  |  |  |  | 
Single LI Scope & Test |  |  |  |  | 
Dual LI Mixer Design |  |  |  |  | 
Dual LI Scope & Test |  |  |  |  |