## Slide 1
Ch.2 Parameter Extraction in
Time-Domain Spectrometers
Lee Jong Geon

## Slide 2
Material Properites and Wave Propagation
Extracting Optical Parameters fromTerahertz Time-Domain Spectromerters Data
Preprocessing and Postprocessing of Data
Sample Requirements
Contents

## Slide 3
Material Properties and
Wave Propagation

## Slide 4
1.1 Complex Refeactive Index and Complex Permitivity
Complex Refractive Index
Complex Permittivity Index
Kramers-Kronig relations

## Slide 5
1.2 Plane Wave Propagation Across an Interface – Fresnel Equations

## Slide 6
1.3 Plane Wave Propagation Through a Dielectric Slab

## Slide 7
1.4 Fabry-Pérot Effect

## Slide 8
Extracting Optical Parameters from
Terahertz TDS Data

## Slide 9
2.1 Transmission-Mode Terahertz TDS: Approximation
Dielectric slab at normal incidence

## Slide 10
2.2 Transmission-Mode Terahertz TDS: Exact Solution
It is based on minimizing error in the magnitude and phase components of the modeled transfer function with respect th the measured transfer function
Gradient-Descent Algorithm
Step 1: Estimate a range of possible thickness
Step 2: Initialize the complex refractive index
Step 3: Determine the modeled transfer function
Step 4: Estimate the error
Step 5: Update the complex refractive index
Step 6: Determine the total variation
Dorney, T., R. Baraniuk, and D. Mittleman, “Material Parameter Estimation with Terahertz Time-Domain Spectroscopy,” Journal of the Optical Society of America A: Optics, Image Science, and Vision, Vol. 18, No. 7, 2001.

## Slide 11
2.3 Reflection-Mode Terahertz TDS: Single Reflection
Single reflection  Two scan (reference, sample)
Double reflection  One scan (combined)
Gradient-Descent Algorithm
Dorney, T., R. Baraniuk, and D. Mittleman, “Material Parameter Estimation with Terahertz Time-Domain Spectroscopy,” Journal of the Optical Society of America A: Optics, Image Science, and Vision, Vol. 18, No. 7, 2001.

## Slide 12
References
Dorney, T., R. Baraniuk, and D. Mittleman, “Material Parameter Estimation with Terahertz Time-Domain Spectroscopy,” Journal of the Optical Society of America A: Optics, Image Science, and Vision, Vol. 18, No. 7, 2001, pp. 1562-1571.