## Slide 1
Zurich
Single Lock-In
Lee Jong Geon

## Slide 2
Last Points
MATLAB
MathoWork 지원팀에 직접 연락
Zurich LabOne - LabVIEW
Device  LabOne Data Server  LabVIEW API
LabOne 와 LabVIEW가 연동됨
Zurich Single LI
Device  LabOne Data Server  LabVIEW API
LabOne 와 LabVIEW가 연동됨

## Slide 3
Single Lock-In
PLL
PLL
SR830
Zurich HF2LI
Reference Signal
Reference Signal
LPF
(Time const., order)
PID Controller
(P, I, D)
 Auto Setting
Mixer
Mixer

## Slide 4
Single Lock-In
Device Connection
Function Generator
(External reference)
Zurich HF2LI
output
Input 1
Input 2
Output 1
Output 2
PLL에서 freq.와 phase 정보를 얻으면 내부 oscillator에서 이를 다시 구현하여 lock-in mixer에 입력한다.

## Slide 5
Single Lock-In
LabOne Setting

## Slide 6
Single Lock-In
LabVIEW Setting
Center frequency, time constant, PID
Auto setting
Demodulator의 mode를 변경시키는 node 없음
 LabOne과 동기화 되어 연결되어야 하는지 확인 필요

## Slide 7
Dual Lock-In
Patent Data
U.S. Patent No. US 7590196 B2. (2005). Washington, DC: U.S. Patent and Trademark Office.
Review of Scientific Instruments 56, 1662 (1985); doi: 10. 1063/1.1138121
Paper

## Slide 8
Week Plan
 | May 5th wk. | June 1st wk. | June 2nd wk. | June 3rd wk. | June 4th wk.
PLL |  |  |  |  | 
Single LI Scope & Test |  |  |  |  | 
Dual LI Mixer Design |  |  |  |  | 
Dual LI Scope & Test |  |  |  |  |